## Spreadsheet Updates and QA (hidden)
Spreadsheet updates and version control (for National Administrator ONLY)
Version Control | [5 empty] | QA Item | [6 empty] | After QA
Version | Date | Change made | Change made by | Requires QA | Overwritten | Tab/Cell | What was checked | Pass / Fail | Notes | Action | QA/Check by | Date | Comments | By | Date
1 | 2022-08-18 | OREG calculator was prepared | Matt Hoogland | Y |  | OREG Calculator tab | Wording; Calculations | Wording - Fail Calculations - is in line with the Rules | Wording to be edited | Setup meeting with Loch and Ing | Navami Sunil | 2023-01-17
2 | 2023-01-24 | Wording on the "OREG Calculator" tab of this spreadsheet was edited for more clarity and to ensure that it is in line with the latest MAC Rules. | Navami Sunil, Loch Tennekoon, Ingrid Errington in a meeting. | N
2.1 | 2023-02-06 | Examples were included in a separate tab called "Examples" | Navami Sunil | Y
2.1 | 2023-02-13 | labelling changes - i) to output field name to 'The total OREG consumption allocated to the rated premises is' ii) made references to Examples tab | Loch Tennekoon | N
2.3 | 2023-04-17 | Added dedicated/ shared example tabs | Duleesha R | Y

## OREG Calculator
T (02) 9995 5000 E nabers@environment.nsw.gov.au nabers.gov.au 4 Parramatta Square Parramatta NSW 2150
NABERS On-site Renewable Energy Generation Systems Calculator
| Version: | 2.4 | Date: | 2023-05-01
This calculator helps you to quantify the distribution of renewable energy among shared users of an On-Site Renewable Energy Generation (OREG) system and instructs you how to account for the allocation in NABERS Perform. The Rules for how this calculation is undertaken are detailed in the chapter 9, The Rules - Metering and Consumption (MAC) v2.0. Please use this calculator in conjunction with current MAC Rules. This calculation should be undertaken separately for each shared OREG system. See Example Tabs (Dedicated connection, Shared Connection - By Claim, Shared Connection - By Proportion), where the OREG Calculator is used to determine the allocated OREG consumption of a rated premises.
| Blue | Requires data entry from you
| Yellow | Calculator outputs for your information
| Green | Figures and instructions for you to enter into NABERS Rate/NABERS Perform
1. Choose your connection type
Please select your connection type. See Section 9.3 of the MAC Rules for descriptions of the types of connection.
The OREG system connection type is:
2. Choose the metering configuration for the rated premises
Is the consumption of the rated premises directly metered or virtually metered? Tip: If the consumption of the rated premises is determined via exclusion of non-utility meters from a parent utility meter, then the rated premises is "virtually metered". If the consumption is determined via non-utility meter inclusion, then the rated premises is "directly metered".
The consumption of the rated premises is:
3. Enter generation and consumption figures
Please enter energy consumption and generation details below for the rating period. Note, "Total generation from OREG system" and "Total exports of the generation from the OREG system" inputs are for information purposes only and do not form part of any calculation. Therefore, please ensure the values are entered correctly and refer to Metering and Consumption Rules, v2.0 - chapter 9 for guidance. You must retain evidence for each figure. Further information may be requested during Level 1 Audits.
| Main Utility Meter consumption (i.e. total grid consumption shared between all end users, billed via the Main Utility Meter) | [5 empty] | kWh
| Total generation from the OREG system | [5 empty] | kWh
| Total OREG consumption shared between all end users | [5 empty] | kWh
| Total export of generation from the OREG system to the grid | [5 empty] | kWh
4. Choose method of allocation for on-site renewable energy generation
Is the renewable energy to be allocated by "claim" or by "proportional consumption"? Please refer to Section 9.3 of the MAC Rules for guidance.
The OREG will be allocated by:
5. Calculator outputs and instructions
The allocation of on-site renewable energy generation for the above system is calculated below. Please follow the below instructions for how to represent the allocation in NABERS Perform. You should retain this spreadsheet as evidence for your rating.

## Dedicated Connection
Dedicated Connection (Section 9.3.2, the Rules - Metering and Consumption, v2.0)
This page includes an example of how to enter separately metered Base Building Grid Electricity consumption in a Base Building Rating. Note these scenarios are examples only.
◦ Energy Flow Diagram : Indicates energy flow within the premises
◦ Single Line Diagram : Indicates metering arrangements
◦ "How to Enter into Perform" table : Please enter data into NABERS Perform according to this table. Rated electricity equation below the table shows how NABERS Perform will calculate the premises' electricity consumption based on the energy balance equation.
Energy Balance:
How to Enter into Perform:
| Utility - Total Grid Input | 1500 kWh
Utility meter data
| NUM Exclusions - Total Tenant Consumption | 800 kWh (= 325 + 250 + 225)
Tenant meter data
Each tenant should be entered separately
| NUM Exclusion - Base Building Solar Consumption | 500 kWh (=700 - 200)
Total solar input to the Base Building is metered
Note this is not shared with other users in the building
| Rated Electricity = | 1500 - 800 - 500
| = | 200 kWh
𝐺𝑟𝑖𝑑 𝐼𝑛𝑝𝑢𝑡+𝑆𝑜𝑙𝑎𝑟 𝐼𝑛𝑝𝑢𝑡= 𝑇𝑒𝑛𝑎𝑛𝑡 𝐺𝑟𝑖𝑑 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛+𝑇𝑒𝑛𝑎𝑛𝑡 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛+𝑩𝒂𝒔𝒆 𝑩𝒖𝒊𝒍𝒅𝒊𝒏𝒈 𝑮𝒓𝒊𝒅 𝑪𝒐𝒏𝒔𝒖𝒎𝒑𝒕𝒊𝒐𝒏+𝐵𝑎𝑠𝑒 𝐵𝑢𝑖𝑙𝑑𝑖𝑛𝑔 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛
𝑩𝒂𝒔𝒆 𝑩𝒖𝒊𝒍𝒅𝒊𝒏𝒈 𝑮𝒓𝒊𝒅 𝑪𝒐𝒏𝒔𝒖𝒎𝒑𝒕𝒊𝒐𝒏 = 𝐺𝑟𝑖𝑑 𝐼𝑛𝑝𝑢𝑡+𝑆𝑜𝑙𝑎𝑟 𝐼𝑛𝑝𝑢𝑡 −𝑇𝑒𝑛𝑎𝑛𝑡 𝐺𝑟𝑖𝑑 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛−𝑇𝑒𝑛𝑎𝑛𝑡 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛−𝐵𝑎𝑠𝑒 𝐵𝑢𝑖𝑙𝑑𝑖𝑛𝑔 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛

## Shared Connection- By Claim
Shared Connection - Allocation by Claim Examples (Section 9.3.3, the Rules - Metering and Consumption, v2.0)
This page includes examples of how to calculate unmetered Base Building Grid Electricity consumption for a Base Building Rating. Note these scenarios are examples only.
◦ Energy Flow Diagram : Indicates energy flow within the premises
◦ SLD : Indicates metering arrangements
◦ "How to enter data into Perfrom" table : Please enter data into NABERS Perform according to this table. Rated electricity equation below the table shows how NABERS Perform will calculate the premises' electricity consumption based on the energy balance equation.
◦ OREG calculator inputs image : Indicates how to use the OREG Calculator to obtain "Base Building" solar consumption values.
Energy Balance:
| *Assumes 100% solar allocation to the Base Building |  | *Assumes 100% solar allocation to the Base Building |  | *Assumes 100% solar allocation to the Base Building
| How to Enter into Perform: |  | How to Enter into Perform: |  | How to Enter into Perform:
| Utility - Total Grid Input | 1500 kWh | Utility - Total Grid Input | 1000 kWh (= 1500 - 500) | Utility - Total Grid Input | 800 kWh
| Utility meter data |  | Utility meter data |  | Utility meter data
| NUM Inclusion - Total Solar Input | 500 kWh (= 700 - 200) | NUM Inclusion - Total Solar Input | 500 kWh (= 700 - 200) | NUM Inclusion - Total Solar Input | 1200 kWh (= 1400 - 200)
| Metered solar data |  | Metered solar data |  | Metered solar data
| NUM Exclusions - Total Tenant Consumption | 800 kWh (= 325 + 250 + 225) | NUM Exclusions - Total Tenant Consumption | 800 kWh (= 325 + 250 + 225) | NUM Exclusions - Total Tenant Consumption | 1500 kWh (= 325 + 250 + 225 + 700)
| Tenant meter data |  | Tenant meter data |  | Tenant meter data
| Each tenant should be entered separately |  | Each tenant should be entered separately |  | Each tenant should be entered separately
| NUM Exclusion - Base Building Solar Consumption | 500 kWh | NUM Exclusion - Base Building Solar Consumption | 500 kWh | NUM Exclusion - Base Building Solar Consumption | 500 kWh
| Total solar input to the site is allocated to the Base Building |  | Total solar input to the site is allocated to the Base Building |  | Solar allocation to the Base Building is capped at Base Building's total energy consumption
Calculated using the OREG Calculator ("Total OREG consumption allocated to the rated premises" output)
| Rated Electricity = | 1500 + 500 - 800 - 500 | Rated Electricity = | 1000 + 500 - 800 - 500
| = | 700 kWh | = | 200 kWh
[5 empty] | Rated Electricity = | 800 + 1200 - 1500 - 500
[5 empty] | = | 0 kWh
OREG Calculator Inputs:
𝐺𝑟𝑖𝑑 𝐼𝑛𝑝𝑢𝑡+𝑆𝑜𝑙𝑎𝑟 𝐼𝑛𝑝𝑢𝑡= 𝑇𝑒𝑛𝑎𝑛𝑡 𝐺𝑟𝑖𝑑 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛+𝑇𝑒𝑛𝑎𝑛𝑡 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛+𝑩𝒂𝒔𝒆 𝑩𝒖𝒊𝒍𝒅𝒊𝒏𝒈 𝑮𝒓𝒊𝒅 𝑪𝒐𝒏𝒔𝒖𝒎𝒑𝒕𝒊𝒐𝒏+𝐵𝑎𝑠𝑒 𝐵𝑢𝑖𝑙𝑑𝑖𝑛𝑔 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛
𝑩𝒂𝒔𝒆 𝑩𝒖𝒊𝒍𝒅𝒊𝒏𝒈 𝑮𝒓𝒊𝒅 𝑪𝒐𝒏𝒔𝒖𝒎𝒑𝒕𝒊𝒐𝒏 = 𝐺𝑟𝑖𝑑 𝐼𝑛𝑝𝑢𝑡+𝑆𝑜𝑙𝑎𝑟 𝐼𝑛𝑝𝑢𝑡 −𝑇𝑒𝑛𝑎𝑛𝑡 𝐺𝑟𝑖𝑑 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛−𝑇𝑒𝑛𝑎𝑛𝑡 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛−𝐵𝑎𝑠𝑒 𝐵𝑢𝑖𝑙𝑑𝑖𝑛𝑔 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛

## Shared Connection-By Proportion
Shared Connection - Allocation by Proportional Consumption Examples (Section 9.3.3, the Rules - Metering and Consumption, v2.0)
This page includes examples of how to calculate unmetered Base Building Grid Electricity consumption for a Base Building Rating. Note these scenarios are examples only.
◦ Energy Flow Diagram : Indicates energy flow within the premises
◦ SLD : Indicates metering arrangements
◦ "How to enter data into Perfrom" table : Please enter data into NABERS Perform according to this table. Rated electricity equation below the table shows how NABERS Perform will calculate the premises' electricity consumption based on the energy balance equation.
◦ OREG calculator inputs image : Indicates how to use the OREG Calculator to obtain "Base Building" solar consumption values.
Energy Balance:
| How to Enter into Perform: |  | How to Enter into Perform: |  | How to Enter into Perform:
| Utility - Total Grid Input | 1500 kWh | Utility - Total Grid Input | 1500 kWh | Utility - Total Grid Input | 1000 kWh (= 1500 - 500)
| Utility meter data |  | Utility meter data |  | Utility meter data
| NUM Inclusion - Total Solar Input | 500 kWh (= 700 - 200) | NUM Inclusion - Total Solar Input | 500 kWh (= 700 - 200) | NUM Inclusion - Total Solar Input | 500 kWh (= 700 - 200)
| Metered solar data |  | Metered solar data |  | Metered solar data
| NUM Exclusions - Total Tenant Consumption | 800 kWh (= 325 + 250 + 225) | NUM Exclusions - Total Tenant Consumption | 800 kWh (= 325 + 250 + 225) | NUM Exclusions - Total Tenant Consumption | 800 kWh (= 325 + 250 + 225)
| Tenant meter data |  | Tenant meter data |  | Tenant meter data
| Each tenant should be entered separately |  | Each tenant should be entered separately |  | Each tenant should be entered separately
| NUM Exclusion - Base Building Solar Consumption | 300 kWh | NUM Exclusion - Base Building Solar Consumption | 300 kWh | NUM Exclusion - Base Building Solar Consumption | 300 kWh
| Proportional solar allocation as determined by the OREG calculator is allocated to the Base Building ("Total OREG consumption allocated to the rated premises" output) |  | Proportional solar allocation as determined by the OREG calculator is allocated to the Base Building ("Total OREG consumption allocated to the rated premises" output) |  | Proportional solar allocation as determined by the OREG calculator is allocated to the Base Building ("Total OREG consumption allocated to the rated premises" output)
| Rated Electricity = | 1500 + 500 - 800 - 300 | Rated Electricity = | 1500 + 500 - 800 - 300 | Rated Electricity = | 1000 + 500 - 800 - 300
| = | 900 kWh | = | 900 kWh | = | 400 kWh
| OREG Calculator Inputs: |  | OREG Calculator Inputs: |  | OREG Calculator Inputs:
𝐺𝑟𝑖𝑑 𝐼𝑛𝑝𝑢𝑡+𝑆𝑜𝑙𝑎𝑟 𝐼𝑛𝑝𝑢𝑡= 𝑇𝑒𝑛𝑎𝑛𝑡 𝐺𝑟𝑖𝑑 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛+𝑇𝑒𝑛𝑎𝑛𝑡 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛+𝑩𝒂𝒔𝒆 𝑩𝒖𝒊𝒍𝒅𝒊𝒏𝒈 𝑮𝒓𝒊𝒅 𝑪𝒐𝒏𝒔𝒖𝒎𝒑𝒕𝒊𝒐𝒏+𝐵𝑎𝑠𝑒 𝐵𝑢𝑖𝑙𝑑𝑖𝑛𝑔 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛
𝑩𝒂𝒔𝒆 𝑩𝒖𝒊𝒍𝒅𝒊𝒏𝒈 𝑮𝒓𝒊𝒅 𝑪𝒐𝒏𝒔𝒖𝒎𝒑𝒕𝒊𝒐𝒏 = 𝐺𝑟𝑖𝑑 𝐼𝑛𝑝𝑢𝑡+𝑆𝑜𝑙𝑎𝑟 𝐼𝑛𝑝𝑢𝑡 −𝑇𝑒𝑛𝑎𝑛𝑡 𝐺𝑟𝑖𝑑 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛−𝑇𝑒𝑛𝑎𝑛𝑡 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛−𝐵𝑎𝑠𝑒 𝐵𝑢𝑖𝑙𝑑𝑖𝑛𝑔 𝑆𝑜𝑙𝑎𝑟 𝐶𝑜𝑛𝑠𝑢𝑚𝑝𝑡𝑖𝑜𝑛

## Dropdowns and references (hidden)
Connection type | Metering type | Allocation type
Meter Config format parameter:
Dedicated | Directly metered | Claim |  | 0
Shared | Virtually metered | Proportional consumption
Calculator outputs and instructions
There are four potential scenarios depending on the metering configuration and whether the allocation is via claim or proportion.
The results output table is tailored for each scenario. Text and number outputs per scenario are as per below:
| Text | Figure | Unit
Direct by claim |  |  | kWh
| The maximum allowable allocation of OREG to the rated premises is: | 0 | kWh
| In NABERS Rate/NABERS Perform, enter the OREG allocation as a non-utility meter exclusion. The OREG allocation must be less than or equal to the maximum allowable allocation of: | 0 | kWh
Virtual by claim | The total electricity consumption of the rated premises, including both grid and OREG consumption is: | 0 | kWh
| The maximum allowable allocation of OREG to the rated premises is: | 0 | kWh
| In NABERS Rate/NABERS Perform, enter the total shared OREG consumption as a non-utility meter inclusion equal to: | 0 | kWh
| In NABERS Rate/NABERS Perform, enter the OREG allocation as a non-utility meter exclusion. The OREG allocation must be less than or equal to the maximum allowable allocation of: | 0 | kWh
Direct by proportion |  |  | kWh
| The total OREG consumption allocated to the rated premises is: | #DIV/0! | kWh
| In NABERS Rate/NABERS Perform, enter the OREG allocation as a non-utility meter exclusion, equal to: | #DIV/0! | kWh
Virtual by proportion | The total electricity consumption of the rated premises, including both grid and OREG consumption is: | 0 | kWh
| The total OREG consumption assigned to the rated premises is: | #DIV/0! | kWh
| In NABERS Rate/NABERS Perform, enter the total shared OREG consumption as a non-utility meter inclusion equal to: | 0 | kWh
| In NABERS Rate/NABERS Perform, enter the OREG allocation as a non-utility meter exclusion, equal to: | #DIV/0! | kWh
Scenarios
1 | Direct by claim
2 | Virtual by claim
3 | Direct by proportion
4 | Virtual by proportion
The routine below determines which scenario we have, numbered 1-4 as above.
Scenario: | 0 | C
Text lookup table | 1 | 2 | 3 | 4 | 0
Row 1 |  | The total electricity consumption of the rated premises, including both grid and OREG consumption is: |  | The total electricity consumption of the rated premises, including both grid and OREG consumption is:
Row 2 | The maximum allowable allocation of OREG to the rated premises is: | The maximum allowable allocation of OREG to the rated premises is: | The total OREG consumption allocated to the rated premises is: | The total OREG consumption assigned to the rated premises is:
Row 3 |  | In NABERS Rate/NABERS Perform, enter the total shared OREG consumption as a non-utility meter inclusion equal to: |  | In NABERS Rate/NABERS Perform, enter the total shared OREG consumption as a non-utility meter inclusion equal to:
Row 4 | In NABERS Rate/NABERS Perform, enter the OREG allocation as a non-utility meter exclusion. The OREG allocation must be less than or equal to the maximum allowable allocation of: | In NABERS Rate/NABERS Perform, enter the OREG allocation as a non-utility meter exclusion. The OREG allocation must be less than or equal to the maximum allowable allocation of: | In NABERS Rate/NABERS Perform, enter the OREG allocation as a non-utility meter exclusion, equal to: | In NABERS Rate/NABERS Perform, enter the OREG allocation as a non-utility meter exclusion, equal to:
Figure lookup table | 1 | 2 | 3 | 4 | 0
Row 1 |  | 0 |  | 0
Row 2 | 0 | 0 | #DIV/0! | #DIV/0!
Row 3 |  | 0 |  | 0
Row 4 | 0 | 0 | #DIV/0! | #DIV/0!
Error cases
Directly metered | 0
Virturally metered | 0
Dedicated OREG | 0
Error | 0

## Version Notes (hidden)
v1 - draft version |  | Only the OREG calculator (from Matt Hoogland)
v2.3 - draft version | MAC 2.0 - section 9.3 | Example tabs were added: Examples of metering arrangements, how to enter data into Perform and how to use the OREG calcualtor in each instance
v2.4 - draft version |  | Some formating in the example tabs